Primevolta Hardware Solutions

Incident & Problem Management Report – Quarterly
Client: FinSecure Services
Reporting Period: Q4 2025 (October 1, 2025 – December 31, 2025)

1. Executive Summary

This Quarterly Incident & Problem Management Report provides a consolidated view of all incidents and recurring problems encountered by FinSecure Services during Q4 2025. The report details incident trends, root cause analyses, SLA compliance, problem resolution effectiveness, and predictive recommendations for preventing future operational disruptions.

During the quarter:

- 432 incidents were logged, including 38 critical incidents.

- Recurring problems accounted for 42% of all incidents, primarily affecting servers, network devices, and UPS systems.

- Average resolution time was 1.8 hours, maintaining SLA compliance.

- Preventive measures and infrastructure improvements reduced potential downtime and enhanced system reliability.

2. Scope of Incident & Problem Management

Primevolta Hardware Solutions provides comprehensive management of incidents and problems, including:

- Incident Logging & Categorization

  - Classification by severity (Critical, High, Medium, Low) and system type (server, network, end-user device, security).

- Incident Investigation & Resolution

  - Root cause identification, corrective actions, and escalation for unresolved issues.

- Problem Management

  - Analysis of recurring incidents to identify systemic issues.

  - Recommendations for infrastructure or process improvements.

- SLA Tracking & Reporting

  - Monitoring response and resolution times.

  - Quarterly compliance assessment with actionable insights.

3. Quarterly Incident Summary

| Incident Category | Total | Critical | High | Medium | Low | Avg Resolution Time |
| --- | --- | --- | --- | --- | --- | --- |
| Server | 150 | 15 | 40 | 70 | 25 | 2.0 hrs |
| Network | 108 | 10 | 25 | 50 | 23 | 1.7 hrs |
| End-user Devices | 90 | 5 | 20 | 40 | 25 | 1.5 hrs |
| Security Appliances | 84 | 8 | 9 | 40 | 27 | 2.2 hrs |
| Total | 432 | 38 | 94 | 200 | 100 | 1.8 hrs |

Analysis:

- Server-related incidents are the most frequent due to aging infrastructure.

- Network and security appliance incidents primarily involve firmware issues and configuration errors.

- End-user device incidents mostly result from hardware failure or improper handling.

4. Problem Management & Root Cause Analysis

4.1 Recurring Problems Identified

- Server Disk Failures

  - Root Cause: Aging storage arrays and inadequate predictive monitoring.

  - Action Taken: Replaced faulty drives; increased monitoring thresholds.

- Network Latency – Branch A & B

  - Root Cause: Suboptimal routing configurations and bandwidth constraints.

  - Action Taken: Reconfigured switches and routers; upgraded bandwidth allocation.

- UPS Alerts & Failures

  - Root Cause: Batteries reaching end-of-life and environmental factors (temperature, humidity).

  - Action Taken: Scheduled UPS battery replacements; added redundant power circuits.

- Firewall Intermittent Downtime

  - Root Cause: Firmware compatibility issues and rule misconfigurations.

  - Action Taken: Updated firmware; reviewed and corrected firewall rules.

4.2 Trend Analysis

- 42% of incidents were recurring, highlighting the need for predictive maintenance.

- Critical incidents remain under 10% of total incidents but have higher impact on operations.

- Preventive measures implemented in Q4 reduced repeated incidents by 22% compared to Q3.

5. SLA Compliance – Quarterly Overview

| SLA Metric | Target | Q4 Achievement | Status |
| --- | --- | --- | --- |
| Critical Incident Resolution | ≤4 hrs | 3.2 hrs | Compliant |
| High Incident Resolution | ≤6 hrs | 4.5 hrs | Compliant |
| Medium Incident Resolution | ≤12 hrs | 6 hrs | Compliant |
| Low Incident Resolution | ≤24 hrs | 12 hrs | Compliant |
| First-Time Resolution Rate | ≥90% | 88% | Slightly below |

Observations:

- SLA compliance maintained for all severity levels.

- Slight decrease in first-time resolution due to complex hardware failures requiring replacements.

6. Predictive Recommendations

- Server & Storage Lifecycle Management

  - Implement phased replacement of legacy servers and storage arrays in Q1–Q2 2026.

- Network Optimization

  - Deploy real-time bandwidth monitoring and automated alerting for latency spikes.

- UPS & Power Infrastructure

  - Replace aging UPS units and implement redundant circuits for critical systems.

- Knowledge Base & End-User Training

  - Maintain a centralized incident knowledge repository.

  - Conduct quarterly training sessions for end-users on proper hardware handling.

- Enhanced Monitoring & Automation

  - Utilize predictive analytics for hardware failure alerts and firmware update schedules.

7. Quarterly Action Plan

- Conduct preventive maintenance for all high-priority hardware in Q1 2026.

- Review all recurring incidents and finalize long-term problem mitigation strategies.

- Upgrade infrastructure in identified high-risk areas (servers, UPS, and network).

- Monitor SLA compliance monthly and implement corrective measures proactively.

8. Conclusion

This report demonstrates Primevolta Hardware Solutions’ commitment to continuous improvement in incident and problem management for FinSecure Services. By analyzing recurring problems, implementing corrective actions, and providing predictive recommendations, we aim to maintain high system availability, reduce operational disruptions, and optimize hardware performance.

Prepared by:
Primevolta Hardware Solutions – Operations Team

Date: 31-Dec-2025